PRODUCT SPECIFICATION

T20LED110S 110V 20W LED TASK LIGHT

【Datasheet 】

| Type | Product | 20W LED TASK LIGHT |
| --- | --- | --- |
|  | Model No | T20LED110S |
|  | Product Type | outdoor Lighting |
|  | Safety Level | Class II |
|  | IP Level | IP54 |
|  | Safety Certificates | CE |
|  | RoHS Directive | Compliant |
| Electrical | Input Voltage | 110V AC |
|  | Frequency | 50/60Hz |
|  | Power | 20Watt |
| Optical | Cover Material | PC |
|  | Reflector | Mirror reflector |
|  | LED Quantity | 100PCS |
|  | LED | SMD 2835 |
|  | Luminous Efficiency(Lm/W) | ≥85Lm/W |
|  | Lumens | 2000lm |
|  | Color temperature(CCT) | 6400K |
|  | Color Render Index(CRI) | Ra≥80 |
| Lamp Structure | Housing Material | Tough Nylon |
| Others | Application | Outdoor or indoor |
|  | Ambient Temperature | -20℃- 55℃ |
|  | Storage Tempertature | -30℃- 75℃ |
|  | Life Time | 50000Hrs |
|  | Color of lamp | Yellow – Front Black – Back |
| Dimension | Power line | 3G 0.75mm2 cable |
|  | Length | 3M cable |
|  | PLUG | 110V 16A Yellow Plug to EN 60309- Part No. P1134 |
|  | OUTLET | 110V 16A Socket to EN 60309 – Part No. FS1134 |
|  | Connect wire | Brown | L |
|  |  | Blue | N |
|  |  | Yellow/Green | E |
| Carton Box Dimension | Quantity of each Carton | 4PCS |
|  | Net Weight | 7.2Kg |
|  | Gross Weight | 7.7kg |
|  | Outer Box Dimension | 55.5X27X32 cm |

# Text boxes

Product name:       20W LED TASK LIGHT

Item No     :           T20LED110S

Power			:              20Watt

LED        :        SMD2835* 100PCS

Input Voltage:           AC 110V